## Slide 1
2901_protWZ.csv
3901_protWZ.csv
4901_protWZ.csv
1901_protWZ.csv
01 Optimization of District Heating

## Slide 2
2901_protWZ.csv
3901_protWZ.csv
4901_protWZ.csv
1901_protWZ.csv
Biomass
Gas peak
Gas peak
Storage

## Slide 3
Challenge
Biomass
Gas peak
Gas peak
Storage
Decrease gas peak boiler runtime due to better storage operation
3. better storage operation 2. improved storage control 1. heat demand forecast

## Slide 4
6
1
2
3
4
5
7
8
9
650 kW
1_prot.csv
90 kW
2_prot.csv
160 kW
3_prot.csv
60 kW
4_prot.csv
100 kW
5_prot.csv
350 kW (07/2018)
8_prot.csv
60 kW (10/2018)
9_prot.csv
850 kW
1006_protWZ.csv
6_protSPS.csv1
30 kW (01/2018)
7_prot.csv
X
<nominal power> (<date of connection>)
<data file>
Legend:

## Slide 5
6
1
2
3
4
5
7
8
9

## Slide 6
Correlation heat demand vs. ambient temperature

## Slide 7
Main consumers heat demand
3 consumers out of 9 dominate the heat required

## Slide 8
Forecast vs. measured heat required | biggest consumer

## Slide 9
Further proceeding
Finalize forecast algorithm (main consumers, load profiles, parameters)
Develop concept for new control settings
  Set point biomass boiler + set point storage vessel
New control settings implementation
  Simulation with existing data: do new settings make sense/savings?
  Run new settings manually
  Run new settings auto
Transfer to other CH district heating systems

## Slide 10
01 Optimization of District Heating
Team
Andy Gubser
Emilie Boillat (remote)
Martin Horeni
Marvin Grass
Toni Wietlisbach (AEW, owner)
Wolfram Willuhn